## Slide 1: Success Story: Energy Management Systems @ Teejay
Implemented by:
Colombo, 29 August 2025
Mendaka Hettithanthri
Deputy General Manager – Teejay group

## Slide 2: Company Overview and Energy-Intensive Nature of Manufacturing
Teejay Lanka PLC – Sri Lanka’s first and only multinational knit fabric manufacturer (est. 2000), supplying knitted and printed fabrics to leading global brands such as Nike, PVH, Marks & Spencer, Victoria’s Secret, and Calzedonia.
Implemented by:
ENERGY BALANCE

## Slide 3: Before the intervention: Energy management challenges
Implemented by:
Energy Rise Linked to Changes in Production Mix
High Scope 1, Scope 2, and Scope 3 emissions
Low awareness among operators
No systematic approach for Energy Management
Absence of machine-level performance and utilization tracking
Lack of Management Involvement

## Slide 4: The actions based on AICRSL project support: Energy management initiatives at Teejay Lanka PLC
Implemented by:
Implement ISO 50001 Energy Management System as a structured framework for systematic energy management.

## Slide 5: The actions based on AICRSL project support: Energy management initiatives at Teejay Lanka PLC
Implemented by:
Developed energy management frame-work and set target
Developed energy management strategy for machines and utility

## Slide 6: The actions based on AICRSL project support: Energy management initiatives at Teejay Lanka PLC
Implemented by:
IoT system for Utility management,
Machine Utilization and Improve productivity
Inhouse full refurbishment of thermic heaters and optimizing set points (previous set point was 265 degrees, now set at 250 degrees)

## Slide 7: The actions based on AICRSL project support: Energy management initiatives at Teejay Lanka PLC
Implemented by:
Reduce steam demand (Trap replacement and leak rectification) and improve condensate and flash steam recovery
Improve hot water recovery from the dyeing process and reuse
Refurbished all pneumatic actuators to stop air leakages and to better manage the air supply

## Slide 8: The actions based on AICRSL project support: Energy management initiatives at Teejay Lanka PLC
Implemented by:
Compressor set point optimization/ leak arresting/ two different colours for open loop & closed loop circuits for easy identification (6 bar & 4 bar)
Refurbish pneumatic valve banks to stop leakages and to better manage compressed air supply to dyeing machines

## Slide 9: The actions based on AICRSL project support: Energy management initiatives at Teejay Lanka PLC
Implemented by:
Automated air conditioning system that turns off for 8 hours (only circulation happens
All production machines and utility equipment are connected and monitored for abnormal behaviours. Any discrepancies are addressed immediately

## Slide 10: The actions based on AICRSL project support: Energy management initiatives at Teejay Lanka PLC
Implemented by:
Water consumption is closely monitored for abnormal behaviours. Any discrepancies are addressed immediately
On going capacitor banks replacement for power factor correction

## Slide 11: The actions based on AICRSL project support: Energy management initiatives at Teejay Lanka PLC
Implemented by:
Heating efficiency increase and loss reduction in dryers

## Slide 12: The actions based on AICRSL project support: Energy management initiatives at Teejay Lanka PLC
Implemented by:
Replaced underperforming heat exchangers in stenters to increase heating efficiency and to enhance energy performance

## Slide 13: Benefits and impact: Intended and un-intended results of EnMS activities
Implemented by:
✅ Intended
💡 Energy efficiency & cost savings
📋 Regulatory & compliance alignment
🌱 Carbon footprint reduction (Scope 1,2, &3)
⚙️ Operational excellence
👥 Employee engagement
⚡ Unintended
🤝 Cultural transformation
💻 Innovation & digitalization push
🏆 Competitive advantage
📈 Financial spin-offs
🔗 Capex justification

## Slide 14: Challenges, risks and mitigation action
Implemented by:
Technical Challenges
Decrease
in orders
Base Load Management
Integrating old machinery with IoT systems was difficult.
Modbus protocols were used to retrofit connectivity.
There seems to be a decrease in the orders throughout the textiles industry.
Right-sizing the plant to reduce utility cost.
Utility systems operated at base load even when production volumes dropped.
Load balancing and scheduling changes were introduced.

## Slide 15: Sustainability of EnMS efforts, and way forward
Implemented by:
Utility dashboards
Weekly & monthly reviews
ISO 50001 and Energy management assessment
Utility optimization & reduction
Real-time tracking enables performance visibility and corrective action.
Teams evaluate energy KPIs regularly for transparency.
Audits ensure continual improvement and compliance.
Standardize processes and develop SOPs.

## Slide 16: Thank you: “What gets measured, can be managed – Teejay continues to lead by turning data into action for energy efficiency, emission reduction, and long-term sustainability.”
Implemented by: